## Slide 1: Improvement of a dc-to-pulse conversion efficiency of FRAC
July 18, 2019
S. Sato1
M. Wakasugi2, T. Ohnishi2,
M. Watanabe2, A. Enokizono2 K. Kurita1
1Department of Physics, Rikkyo University
2RIKEN Nishina Center for Accelerator-Based Science

## Slide 2: Highlights
We developed a 2-step bunching method by cooperation of
1/17
The DC beam was converted to a pulse beam with up to ~90% efficiency.
※1 Nucl. Instrum. Meth. B317, 357 (2013).
※2 Rev. Sci. Instrum. 89, 095107 (2018).
ERIS※1(Electron-beam-driven RI separator for SCRIT )
FRAC※2(Fringing-RF-field-activated dc-to-pulse converter)
and

## Slide 3: SCRIT facility @ RIKEN
2/17
SCRIT (Self Confining Radioactive isotope Ion Target)
The world’s first electron scattering of unstable nuclei
ISOL
Buncher
Spectrometer
Target
Nucl. Instrum. Methods B317(2013)668

## Slide 4: Operation of SCRIT
3/17
Trapping
& scattering
: SCRIT potential
Injection
Potential is opened for 500μs
: Ion
: e- beam
〜108 ions need to be injected to SCRIT in 500μs

## Slide 5: Goal and condition
4/17
Because
SCRIT requires : ~108 ions
The dc-to-pulse conversion efficiency : 100%.
The production rate : 105 ~107 ions/s

## Slide 6: Goal and condition
4/17
Because
SCRIT is operated under high vacuum of ~10-8 Pa.
SCRIT requires : ~108 ions
Ions in FRAC need to be extracted with in 500us.
Because
The dc-to-pulse conversion efficiency : 100%.
The degree of vacuum of FRAC : ~10-3 Pa.
The production rate : 105 ~107 ions/s
Ion capacity needs to be ~108 ions.

## Slide 7: Setup
5/17
FC1
FC2
ERIS
grid
Barr1
Barr2
FRAC
Segmented RFQ
Length : 0.9m
Bore radius : 8 mm
RF amplitude : 500 V
RF frequency : 1.5 MHz
Buffer gas : Xe, ~10-3 Pa
end view of FRAC

## Slide 8: 2-step bunching method
6/17
Ion cooling by buffer gas of ~10-3 Pa
Long cooling time
DC beam can not be stacked
2-step bunching method

## Slide 9: 2-step bunching method
7/17
If the DC beam is injected…
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
DC beam can not be stacked efficiently

## Slide 10: 2-step bunching method
8/17
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
1. The ions are stacked by ERIS

## Slide 11: 2-step bunching method
8/17
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
2. The ions are extracted as a pre-pulse beam

## Slide 12: 2-step bunching method
8/17
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
3. The injection barrier of FRAC is opened

## Slide 13: 2-step bunching method
8/17
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
3. The ions are trapped and cooled in FRAC

## Slide 14: 2-step bunching method
8/17
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
4. Next pre-pulse is extracted from ERIS

## Slide 15: 2-step bunching method
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
5. Next pre-pulse is injected to FRAC
8/17

## Slide 16: 2-step bunching method
1/20
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
6. The ions are trapped and cooled in FRAC
1/17
8/17

## Slide 17: 2-step bunching method
1/20
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
7. The pre-pulses are stacked in FRAC
8/17

## Slide 18: 2-step bunching method
1/20
L
Potential
Buffer gas
~10-3Pa
FRAC
ERIS
8. The ions stacked in FRAC is extracted
8/17

## Slide 19: 2-step bunching method
9/17
L
Potential
FRAC
ERIS
50V
0V(10kV)
-200V
20V
-3.6V
-180V
Vd
-5V
The potential value relative to the beam energy

## Slide 20: 2-step bunching method
10/17
ERIS efficiency
FRAC efficiency
1. How long can ERIS hold the ions efficiently?
2. How long FRAC takes to cool the ions sufficiently?
ERIS : converts the DC beam to pre-pulse beam
FRAC : cools and stacks the pre-pulse beam
Pre-pulsing frequency is very important.
Pre-pulsing frequency
High
Low

## Slide 21: Determination the pre-pulsing frequency
1/20
1. The pre-pulsing frequency dependence of ERIS efficiency
2. The energy of the ions in FRAC
ERIS efficiency =
ions in the pre-pulse
The energy of the ions in FRAC is estimated by pulse width of extracted pulse.
Intensity
DC beam
Time
Intensity
Pre-pulse beam
Time
ions in DC
11/17
Ion beam : 140Cs
Ion beam : 133Cs

## Slide 22
1/20
ERIS efficiency
The energy of the ions in FRAC
pre-pulse / DC
Pre-pulsing frequency [Hz]
Cooling time [ms]
Average energy [eV]
ERIS efficiency : 100%
Pre-pulsing frequency 10Hz
The ions are cooled sufficiently.
Cooling time 50ms
The pre-pulsing frequency was determined 10Hz
12/17
Determination the pre-pulsing frequency

## Slide 23: Vd dependence of pulse width
1/20
Intensity
Extracted pulse
Time
Increase of Vd
Measurement to determine appropriate Vd
Intensity
Extracted pulse
Time
13/17
Ion beam : 133Cs
Vd

## Slide 24: Vd dependence of pulse width
Vd = 10 V
Vd = 5 V
Vd = 0 V
FWHM [ms]
Potential difference Vd [V]
Time [ms]
Intensity [nA]
1/20
The pulse width was close to the target value when the potential difference Vd =10V
14/17

## Slide 25: FRAC efficiency
1/20
FRAC efficiency =
extracted ions
Injected ions
Intensity
Intensity
Time
Injected pre-pulses
Extracted pulse
…
Time
The pre-pulsing frequency : 10Hz
The potential difference Vd : 10V
15/17
Ion beam : 133Cs

## Slide 26: FRAC efficiency
2.5 × 105 ions / pre-pulse
2.5 × 106 ions / pre-pulse
1/20
If the efficiency is 100%
1×108
< 4×107
×108
2.5×108
Injected ions
~90%
~70%
~40%
FRAC efficiency
Extracted ions
FRAC efficiency
Stacking time [s]
Stacking time [s]
16/17

## Slide 27: Summary
1/20
108 ions can be extracted as a pulse beam with slightly lower efficiency above 4×107 ions.
The DC beam is converted to a pulse beam with up to ~90% efficiency by the 2-step bunching method.
Next step
We want to convert the DC beam more efficiently when the injected ions is more than 4×107.
Modifications are planned.
17/17

## Slide 28: Back up
July 18, 2019

## Slide 29: Previous performance of FRAC
1/20
FRAC was operated under high vacuum of ~10-6 Pa
The conversion efficiency was achieved up to ~5%.
1/2
FRAC(Fringing-RF-field-activated dc-to-pulse converter)
The ions were decelerated by fringing RF field
Barr1
FRAC

## Slide 30: RI ion trapping by SCRIT
1/20
2/2
Transverse trap : Focus force made by electron beam
Longitudinal trap : electric potential made by barrier electrode
+
: ion
: electron
electrode
electric potential

## Slide 31: Method to estimate the energy
1/20
2/2
The potential difference Vd : 0V
Intensity
injected pulse
cooling
Intensity
Extracted pulse
The width =
The length of FRAC
The velocity of ions
The energy is estimated